## Slide 1: Biosensor for Monitoring of IFN-γ in Eccrine Sweat
INTRODUCTION
OBJECTIVES & INNOVATION
MATERIALS & METHODS
RESULTS
CONCLUSIONS & FUTURE WORK
Proof-of-feasibility of a sensing apparatus in the detection of IFN-γ in sweat.
Developed sweat sensor can detect a wide spectrum of IFN-γ levels found in healthy and sick individuals.
Future work will focus on real-time, continuous monitoring of IFN-γ concentrations in healthy and sick subjects.
Sweat IFN-γ levels will be correlated with serum levels to better understand sweat cytokine expression.
REFERENCES
ACKNOWLEDGMENTS
Aashay Kothari1, Badrinath Jagannath1, Sriram Muthukumar2, Shalini Prasad1
The University of Texas at Dallas, Richardson, TX, 75080
EnLiSense LLC, Allen, TX 75013
Like serum, sweat contains various Inflammatory molecules that function as useful biomarkers for assessing body’s physiological state.
IFN-γ is a critical biomarker found in abundance during various types of bacterial/viral infections and during tumor/cancer growth.
A stable electrochemical sensor is imperative for the accurate and precise detection of IFN-γ in sweat.
Sinusoidal Input Voltage
Sensor Metrics | Sweat (pg/mL)
Limit of Detection | 1
Dynamic Range | 1-512
Inference:
Both accurate and precise detection of IFN-γ at concentrations as low as 1 pg/mL and as high as 512 pg/mL with high sensitivity.
Specific detection of IFN-γ only, even in the presence of high concentrations of similar extraneous molecules found inherently in sweat.
Jagannath et al., Analytica Chimica Acta (2018): 1016, 29-39
Jagannath et al., Bioengineering & Translational Medicine (2021): 10220
Dai et al., Plos One (2013): 67666
Jorgovanovic et al., Biomarker Research 8 (2020): 49
Biomedical Microdevices and Nanotechnology Laboratory
Sensor Metrics
Sensitivity
Limit of detection
Specificity
Dynamic range
  Rapid and reliable IFN-γ sensing in sweat through a novel sensor
  Detection of IFN-γ at low concentrations while avoiding interference from similar biomolecules